## Sheet1
Raja Jait Singh Govt Polytechnic Neemka , Faridabad Lesson Plan
Name of Faculty |  | Bhagat singh
Discipline |  | Electrical Engg.
Semester |  | 4th
Subject |  | Electrical Engg. Design and Drawing - 2
Lesson Plan Duration |  | From 15march 2022 to june,2022
Work load (Theory + Practical ) Per Week |  | (00 + 06)
Week | Theory |  | Practical
| Lecture Day | Topic | Practic al Day | Topic
| 1st | Introduction about the syllabus of the subject & scope of the subject.
1st |  | Unit-I Contractor Control
Circuits
| 2nd | Sheet No. 1
(i) Draw schematic & power wiring diagram of Direct On Line starting of a 3-phase induction motor with specification of contractor.
(ii) Draw schematic & power wiring diagram of Direct On Line remote starting of a 3-phase induction motor from two different location's with specification of contractor.
Sheet No. 2
(i) Draw schematic & power wiring diagram of 3-phase induction motor getting supply from two different feeders having Electrical interlocking with specification of contractor. (ii) Draw schematic & power wiring diagram of 3-phase induction motor getting supply from two different feeders having Electrical interlocking as well as mechanical interlocking with specification of contractor
2nd
1st
| 2nd | Revision of sheet No. 1 & Sheet No. 2.
| 1st | Sheet No. 3
(i) Draw schematic & power wiring diagram of sequential starting of two 3-phase induction motor manually.
(ii) Draw schematic & power wiring diagram of sequential starting of two 3-phase induction motor automatically using Time
Delay Relay with specifications.
3rd |  | Sheet No. 4
| 2nd | (i) Draw schematic & power
wiring diagram for
forwarding/reversing of 3-phase induction motor.
(ii) Draw schematic & power wiring diagram for water level control of 3-phase induction motor using limit switches with specifications.
| 1st | Revision of sheet No. 3 & Sheet No. 4.
4th |  | Sheet No. 5
| 2nd | (i) Draw schematic & power wiring diagram for two speed control of 3-phase induction motor manually having electrical interlocking with specifications of contractors.
(ii) Draw schematic & power wiring diagram for two speed control of 3-phase induction motor automatically using Time Delay Relay with specifications of contractors.
| 1st | Sheet No. 6
(i) Draw the neat connection diagram of manually operated star-Delta starter for 3-phase induction motor.
ii) Draw schematic & power wiring diagram of Automatic Star Delta Starter for 3-phase induction with specifications of contractors.
5th |  | Revision of sheet No. 5 & Sheet No. 6.
2nd
| 1st | Unit-II Earthing
Sheet No. 7
(i) Draw the neat sketch of Pipe earthing showing all relevant dimensions with the list of materials & costing required for the pipe earthing.
6th | 2nd | Ist Sessional test.
| 1st | Sheet No. 8
(i) Draw the neat sketch of Plate earthing showing all relevant dimensions with the list of materials & costing required for the plate earthing.
7th | 2nd | Sheet No. 9
Draw the neat sketch of Substation earthing layout and earthing materials required.
| 1st | Revision of sheet No. 7 & Sheet No. 8.
8th |  | Question & Answer regarding Earthing.
2nd
9th | 1st | Sheet No. 10
(i) Draw the neat sketch of key diagram of 11Kv sub-station with the table of symbols used. (ii) Draw the neat sketch of key diagram of 33Kv sub-station with the table of symbols used.
| 2nd | Revision of sheet No. 9 & Sheet No. 10.
| 1st | Sheet No. 11
(i) Draw the neat sketch of key diagram of 66Kv sub-station with the table of symbols used. (ii) Draw the neat sketch of key diagram of 132Kv sub-station with the table of symbols used.
10th | 2nd | Question & Answer regarding Earthing.
| 1st | Sheet No. 12
(i) Draw the full sectional possible views of End Cover of induction motor showing all relevant
dimensions.
11th |  | (ii) Draw the half sectional possible views of End Cover of induction motor showing all relevant
| 2nd | 2nd Sessional test.
| 1st | Sheet No. 13
(i) Draw the full sectional possible views of Rotor of squirrel cage induction motor showing all relevant dimensions.
(ii) Draw the full sectional possible views of Terminal Plate of induction motor showing all relevant dimensions.
12th | 2nd | Revision of sheet No. 11 & Sheet No. 12.
| 1st | Sheet No. 14
Draw the full sectional & half sectional possible views of Field coil of DC motor.
13th | 2nd | Revision of sheet No. 13 & Sheet No. 14.
| 1st | Sheet No. 15
(i) Draw the views of Motor body (induction motor) as per IS specifications.
14th | 2nd | Sheet No. 15
(ii) Draw the full sectional possible views of Slip rings of 3phase induction motor.
| 1st | Clarification about any doubts raised by the students regarding whole syllabus of the subject.
15th | 2nd | 3rd Sessional test.