## Sheet1
Raja Jait Singh Govt Polytechnic Neemka , Faridabad Lesson Plan
Name of Faculty |  |  |  | Satish Kant
Discipline |  |  |  | Electrical Engg.
Semester |  |  |  | 4th
Subject |  |  |  | Electrical Machine - 1
Lesson Plan Duration |  |  |  | From 15march 2022 to june,2022
Work load (Theory + Practical ) Per Week |  |  |  | (04+02)
| Lecture Day | Topic | Practical Day | Topic
| 1st | Unit-1Introduction to Electrical |  | PRACTICAL-1
Machines
|  | Definition of motor and generator, concept of torque |  | Measurement of the angular displacement of the rotor of a slip-ring induction motor on application of DC to stator of motor winding in sequence and simultaneously to each phase of rotor winding
1st |  |  | 1st
Torque development due to alignment of two fields and the concept of torque angle
2nd
|  | Electro-magnetically induced emf |  | PRACTICAL-1
3rd
|  |  | 2nd | Measurement of the angular displacement of the rotor of a slip-ring induction motor on application of DC to stator of motor winding in sequence and simultaneously to each phase of rotor winding
Elementary concept of an electrical machine
4th
|  | Comparison of generator and motor |  | PRACTICAL-2
5th
|  |  | 3rd | Speed control of dc shunt motor (i) Armature control method (ii) Field control method
REVISION UNIT-1
6th
2nd |  | REVISION UNIT-1 |  | PRACTICAL-2
7th
|  |  | 4th | Speed control of dc shunt motor (i) Armature control method (ii) Field control method
REVISION UNIT-1
8th
|  | Unit-2 DC Machines |  | PRACTICAL-3
| 9th | Main constructional features, Types of armature winding
|  |  | 5th | Study of dc series motor with starter (to operate the motor on no load for a moment)
3rd |  | Function of the commutator for
| 10th | motoring and generation action
|  | Factors determining induced emf |  | PRACTICAL-3
11th
|  |  | 6th | Study of dc series motor with starter (to operate the motor on no load for a moment)
Factors determining the electromagnetic torque
12th
|  | Types of dc generation on the basis of excitation, voltage built up in a dc shunt generator |  | PRACTICAL-4
13th
|  |  | 7th | Study of 3 point starter for starting D.C. shunt motor.
Significance of back e.m.f., the relation between back emf and Terminal voltage
14th
4th |  | Armature Reaction |  | PRACTICAL-4
15th
|  |  | 8th | Study of 3 point starter for starting D.C. shunt motor.
| 16th | Commutation methods to improve commutation
|  | Performance and characteristics of different types of DC motors |  | PRACTICAL-5
17th
|  |  | 9th | To perform open circuit and short circuit test for determining: (i) equivalent circuit (ii) the regulation and (iii) efficiency of a transformer from the data obtained from open circuit and
short circuit test at full load
5th |  | Speed control of dc shunt/series motors
18th
| 19th | Need of starter, three point dc shunt |  | PRACTICAL-5
motor starter and 4-point starter
|  |  | 10th | To perform open circuit and short circuit test for determining: (i) equivalent circuit (ii) the regulation and (iii) efficiency of a transformer from the data obtained from open circuit and
short circuit test at full load
| 20th | Applications of DC motors
| 21st | Losses in a DC machine |  | PRACTICAL-6
|  |  | 11th | To find the efficiency and regulation of single phase transformer by actually loading it.
6th | 22nd | Determination of losses by
Swinburne’s test
| 23rd | REVISION UNIT-2 |  | PRACTICAL-6
| 24th | REVISION UNIT-2 | 12th | To find the efficiency and regulation of single phase transformer by actually loading it.
| 25th | REVISION UNIT-2 |  | PRACTICAL-7
|  |  | 13th | Checking the polarity of the windings of a three phase transformer and connecting the windings in various configurations
| 26th | REVISION UNIT-2
7th | 27th | REVISION UNIT-2 |  | PRACTICAL-7
|  |  | 14th | Checking the polarity of the windings of a three phase transformer and connecting the windings in various configurations
| 28th | REVISION UNIT-2
| 29th | Unit-3 Transformers(Single phase) |  | PRACTICAL-8
Introduction
|  |  | 15th | Finding the voltage and current relationships of primary and secondary of a three phase transformer under balanced load in various configurations
conditions such as
Star-star
8th |  |  |  | Star delta
Delta star
| 30th | Constructional features of a transformer and parts of transformer |  | Delta - Delta configuring conditions
| 31st | Working principle of a transformer |  | PRACTICAL-8
Finding the voltage and current relationships of primary and secondary of a three phase transformer under balanced load in various configurations
|  |  | 16th | conditions such as
Star-star
Star delta
Delta star
| 32nd | EMF equation |  | Delta - Delta configuring conditions
| 33rd | Transformer on no-load and its phasor diagram
17th
REVISION PRACTICAL-1
| 34th | Transformer – neglecting voltage drop in the windings – Ampere turn balance
– its phasor diagram
9th
| 35th | Mutual and leakage fluxes, leakage reactance
18th
|  | Transformer on load, voltage drops and its phasor diagram |  | REVISION PRACTICAL-1
36th
| 37th | Equivalent circuit
|  |  | 19th | REVISION PRACTICAL-2
| 38th | Relation between induced emf and terminal voltage, regulation of a transformer-mathematical relation
10th
| 39th | Losses in a transformer
|  | Open circuit and short circuit test. Calculation of efficiency, condition for maximum efficiency-maintenance of Transformer, scheduled Maintenance | 20th | REVISION PRACTICAL-2
40th
11th | 41st | Auto transformer construction, saving of copper, working and applications
REVISION PRACTICAL-3
| 42nd | Different types of transformers including dry type transformer | 21st
| 43rd | REVISION UNIT-3
|  | REVISION UNIT-3 | 22nd | REVISION PRACTICAL-3
44th
12th | 45th | REVISION UNIT-3
REVISION PRACTICAL-4
| 46th | REVISION UNIT-3 | 23th
| 47th | REVISION UNIT-3
|  | REVISION UNIT-3 | 24th | REVISION PRACTICAL-4
48th
13th | 49th | Unit-4 Transformers three phase Construction of three phase transformers
REVISION PRACTICAL-5
| 50th | And accessories of transformers such as Conservator, breather(Brief idea) | 25th
| 51st | Buchholz Relay, Tap Changer (off load
and on load) (Brief idea)
|  |  | 26th | REVISION PRACTICAL-5
Types of three phase transformer i.e. delta-delta, delta-star, star-delta and star-star
52nd
14th | 53rd | Conditions for parallel operation (only conditions are to be studied)
REVISION PRACTICAL-6
| 54th | On load tap changer | 27th
| 55th | Difference between power and
distribution transformer
|  |  | 28th | REVISION PRACTICAL-6
Cooling of transformer
56th
15th | 57th | REVISION UNIT-4
REVISION PRACTICAL-7&8
| 58th | REVISION UNIT-4 | 29th
| 59th | REVISION UNIT-4
|  | REVISION UNIT-4 | 30th | REVISION PRACTICAL-7&8
60th